## Slide 1
Quality Lab Equipment Calibration & Integration Details
Sr.No. | Name of Equipment | Use / Purpose | Qty | Last Date of calibration | Due Date of Calibration | Calibrated by | Integration with SAP Yes/No | Integration Possible Yes/No
1 | Mechanical crusher | for crushing the raw material | 1 |  |  | UEC | NO | No
2 | Pulp Centrifuge | for heavy particles separation | 1 |  |  | UEC | NO | No
3 | Dust/Chips Classifier | To classify the raw material | 1 |  |  | UEC | NO | No
4 | Weighing Balance1 | for weighing purpose | 1 |  |  | UEC | NO | No
5 | Weighing Balance2 | for weighing purpose | 1 |  |  | UEC | NO | No
6 | Weighing Balance3 | for weighing purpose | 1 |  |  | UEC | NO | No
7 | Hot air Oven1 | for drying purposes | 1 |  |  | UEC | NO | No
8 | Hot air Oven2 | for drying purposes | 1 |  |  | UEC | NO | No
9 | Autoclave digester | for cooking of the raw material | 1 |  |  | UEC | NO | No
10 | PFI Mill | to increase the freeness of the pulp | 1 |  |  | UEC | NO | No
11 | SEMI AUTOMATED SHEET FORMER | to made hand sheets | 1 |  |  | UEC | NO | No
12 | SHEET FORMER | to made hand sheets | 1 |  |  | UEC | NO | No
13 | PULP DISINTEGRATOR1 | for mixing the high consistency pulp | 1 |  |  | UEC | NO | No
14 | PULP DISINTEGRATOR2 | for mixing the high consistency pulp | 1 |  |  | UEC | NO | No
15 | WEIGHING BALANCE 200 gm | for weighing purpose | 1 |  |  | UEC | NO | No
16 | FREENESS TESTER1 | to check freeness of pulp | 1 |  |  | UEC | NO | No
17 | FREENESS TESTER2 | to check freeness of pulp | 1 |  |  | UEC | NO | No
18 | RAPID SHEET DRYER | for sheet drying | 1 |  |  | UEC | NO | No
19 | SHEET DRYER1 | for sheet drying | 1 |  |  | UEC | NO | No
20 | SHEET DRYER2 | for sheet drying | 1 |  |  | UEC | NO | No
21 | sheet press | for sheet Pressing | 1 |  |  | UEC | NO | No
22 | WATER BATH | Heating purpose | 1 |  |  | UEC | NO | No
23 | HOT AIR OVEN (DOUBLE DOOR)1 | for drying purposes | 1 |  |  | UEC | NO | No

## Slide 2
Quality Lab Equipment Calibration & Integration Details
Sr.No. | Name of Equipment | Use / Purpose | Qty | Last Date of calibration | Due Date of Calibration | Calibrated by | Integration with SAP Yes/No | Integration Possible Yes/No
24 | HOT AIR OVEN (DOUBLE DOOR)2 | for drying purposes | 1 |  |  | UEC | NO | No
25 | Universal BRIGHTNESS TESTER | To check brightness of paper | 1 |  |  | UEC | NO | No
26 | FIBRE CLASSIFIER | for classification of fibers | 1 |  |  | UEC | NO | No
27 | MUFFLE FURNACE | for igniting the samples | 1 |  |  | UEC | NO | No
28 | pH METER1 | to check pH of the sol. | 1 |  |  | UEC | NO | No
29 | TDS meter | to check TDS | 1 |  |  | UEC | NO | No
30 | AGITATOR 1 | for mixing | 1 |  |  | Internal | NO | No
31 | AGITATOR 2 | for mixing | 1 |  |  | Internal | NO | No
32 | AGITATOR3 | for mixing | 1 |  |  | Internal | NO | No
33 | AGITATOR4 | for mixing | 1 |  |  | Internal | NO | No
34 | VACUUM PUMP1 | for vacuum | 1 |  |  | Internal | NO | No
35 | VACUUM PUMP2 | for vacuum | 1 |  |  | Internal | NO | No
36 | VACUUM PUMP3 | for vacuum | 1 |  |  | Internal | NO | No
37 | MAGNETIC STIRRER1 | mixing pulp with CED sol | 1 |  |  | Internal | NO | No
38 | MAGNETIC STIRRER2 | mixing pulp with CED sol | 1 |  |  | Internal | NO | No
39 | Hot plate | for heating purpose | 1 |  |  | Internal | NO | No
40 | Core Crush tester | To Crushing strength | 1 |  |  | UEC | NO | No
41 | Bursting tester (Carton) | to check the bursting strength | 1 |  |  | UEC | NO | No
42 | Abrassion Tester1 | to check the abrasion of filler | 1 |  |  | UEC | NO | No
43 | Water bath | Heating Purpose | 1 |  |  | UEC | NO | No
44 | Folding Endurance | to check the folding endurance of paper | 1 |  |  | UEC | NO | No
45 | SPS tester | to check porosity of paper | 1 |  |  | UEC | NO | No
46 | Brightness Tester-Konika Minolta | To check brightness of paper | 1 |  |  | KONIKA | Yes | Yes

## Slide 3
Quality Lab Equipment Calibration & Integration Details
Sr.No. | Name of Equipment | Use / Purpose | Qty | Last Date of calibration | Due Date of Calibration | Calibrated by | Integration with SAP Yes/No | Integration Possible Yes/No
47 | Muffle Furnace | for igniting the samples | 1 |  |  | UEC | NO | No
48 | Bendtsen Smoothness tester | to check the smoothness of paper | 1 |  |  | UEC | NO | No
49 | Cobb tester | to check the cobb of paper | 1 |  |  | UEC | NO | No
50 | Tensile tester | to check tensile properties of paper | 1 |  |  | UEC | NO | No
51 | Tensile Strip Cutter | to cut strips | 1 |  |  | UEC | NO | No
52 | Thickness tester | to check the thickness | 1 |  |  | UEC | NO | No
53 | Tear tester | To check tearing strength of paper | 1 |  |  | UEC | NO | No
54 | Valley beater | for beating the pulp sample | 1 |  |  | UEC | NO | No
55 | Weighing Balance | for weighing purpose | 1 |  |  | UEC | NO | No
56 | Fluff tester | to check the fluff content of paper | 1 |  |  | Internal | NO | No
57 | UV Lamp | To match shade | 1 |  |  | Internal | NO | No
58 | Hot Plate | Heating Purpose | 1 |  |  | Internal | NO | No
59 | L&W Tear Tester | To check tearing strength of paper | 1 |  |  | ABB | NO | Yes
60 | L&W Bending ( Stiffness) Tester | To check stiffness | 1 |  |  | ABB | NO | Yes
61 | L&W Brightness tester | To check optical properties | 1 |  |  | ABB | Yes | Yes
62 | L&W Smoothness Tester | To check smoothness of paper | 1 |  |  | ABB | NO | Yes
63 | Brookfield Viscosity Meter | To check viscosity | 1 |  |  | UEC | NO | No
64 | Hot Air Oven1 | To dry samples | 1 |  |  | UEC | NO | No
65 | Hot Air Oven2 | To dry samples | 1 |  |  | UEC | NO | No

## Slide 4
Quality Lab Equipment Calibration & Integration Details
Sr.No. | Name of Equipment | Use / Purpose | Qty | Last Date of calibration | Due Date of Calibration | Calibrated by | Integration with SAP Yes/No | Integration Possible Yes/No
67 | Sheet Dryer Chember | To dry sheets | 1 |  |  | UEC | NO | No
68 | Bursting Strength Tester | To check burst strength | 1 |  |  | UEC | NO | No
69 | Taber Stiffness Tester ( Universal Make) | To check stiffness | 1 |  |  | UEC | NO | No
70 | Muffle Furnace | To ignite samples | 1 |  |  | UEC | NO | No
71 | Cobb Tester | To check cobb of paper | 1 |  |  | UEC | NO | No
72 | SPS Tester ( Gurley) | To check porosity of paper | 1 |  |  | UEC | NO | No
73 | Electronic Balance | Weighing purpose | 1 |  |  | UEC | NO | No
74 | Electronic Balance | Weighing Purpose | 1 |  |  | UEC | NO | No
75 | Degree SR Tester | To check freeness of pulp | 1 |  |  | UEC | NO | No
76 | Sheet former | To made hand sheets | 1 |  |  | UEC | NO | No
77 | Disintegrator | To mix pulp samples | 1 |  |  | UEC | NO | No
78 | pH Meter | To check pH of Sol | 1 |  |  | UEC | NO | No
79 | Thickness Micrometer 1004A | To check thickness of paper | 1 |  |  | UEC | NO | No
80 | Vacuum Pump | To made sheets | 1 |  |  | Internal | NO | No
81 | Stirrer | To mix samples | 1 |  |  | Internal | NO | No
82 | Circular Punch | To check 10*10 gsm | 1 |  |  | Internal | NO | No
83 | Tear Strip Cutter | To check tear strength | 1 |  |  | Internal | NO | No
84 | Tensile Strip Cutter | To check Tensile Strength | 1 |  |  | Internal | NO | No
85 | Furnace | To ignite samples | 1 |  |  | UEC | NO | No
86 | Oven | To dry samples | 1 |  |  | UEC | NO | No
87 | Weighing Balance | Weighing Purpose | 1 |  |  | UEC | NO | No
88 | Hot Plate1 | Heating Purpose | 1 |  |  | Internal | NO | No
89 | Vacuum Pump | Vacuum purpose | 1 |  |  | Internal | NO | No